## Sheet1
CONFIG_FILE	SETTINGS_FILE
	int	timeValue_t workFromHomeWakeUp = { 7, 00 };
	int	timeValue_t workFromHomeSleep = { 21, 30 };

	int	timeValue_t workAtOfficeWakeUp = { 6, 30 };
	int	timeValue_t workAtOfficeGoOut = { 7, 15 };
	int	timeValue_t workAtOfficeComeIn = { 17, 15 };
	int	timeValue_t workAtOfficeSleep = { 21, 30 };

	int	timeValue_t weekendWakeUp = { 9, 00 };
	int	timeValue_t weekendSleep = { 22, 00 };

		// Program to switch temperature setpoint if not overruled
		// Regular weekly schedule (Sunday is day 0)
		// Sunday Monday Tuesday Wednesday Thursday Friday Saturday
	int[7]	dayType_t regularWeek[7] = { dtWeekend, dtWorkAtOffice, dtWorkAtOffice, dtWorkAtOffice, dtWorkAtOffice, dtWorkAtOffice, dtWeekend };

	float	float highTemp = 19.5;
	float	float lowTemp = 10.0;

		// Current settings of temperature	22.9
	int	dayType_t overrideToday = dtAuto;	2.54
	int	dayType_t overrideTomorrow = dtAuto;	9.01574803149606
	int	dayType_t overrideMultiple = dtAuto;
	int	int overrideMultipleCount = 3;

		// Backlight
		bool backLightOn = true;

		// Time status
		bool timeSynched = false;

		// TEMPERATURE MEASUREMENTS
		uint8_t numSensors;
		DeviceAddress sensorAddress[MAX_NUM_SENSORS];
		bool temperatureMeasurementOK;
		float rawTemperature=20; // The temperature without offset measured periodically
		float sensorOffset=-3.5; // The offset added
		float measuredTemperature() { return rawTemperature+sensorOffset; };
		timeValue_t lastTemperatureMeasurement = timeValue_t(0,0);

		// TEMPERATURE CONTROL
		float overrideSetpoint = 20.0; // Value for temperatureSetpoint if overrideTempNow == true
		bool overrideTempNow = false;
		setpointReason_t reasonForSetpoint;
		dayType_t dayTypes[7] = {dtAuto, dtAuto, dtAuto, dtAuto, dtAuto, dtAuto, dtAuto};
		bool dayTypeOverruled[7] = {false, false, false, false, false, false, false};

		float temperatureSetpoint = 20.0; // Temperature actually sent to the PID controller
		float P;
		float I;
		float D;
		float ierr;
		float derivative;

		// Text to be displayed on the display or in Telegram
		icon_t dspFlameIcon = iconFlame0;
		icon_t dspShowerIcon = iconShowerOff;
		icon_t dspWifiIcon = iconWifiLost;
		icon_t dspBoilerIcon = iconBoilerLost;

		// BOILER STATUS
		// Boiler request
		float requestedDomesticHotWaterSetpoint = 55.0;
		float requestedBoilerTemperature;
		float boilerPercentage;
		bool enableCentralHeating = true;
		bool enableHotWater = true;
		bool enableCooling = false;
		timeValue_t lastBoilerUpdate = timeValue_t(0,0);;

		// Boiler response
		boilerResponse_t boilerResponse;
		bool boilerOnline = false;
		bool centralHeatingActive = false;
		bool hotWaterActive = false;
		bool flameOn = false;
		float actualBoilerTemperature;
		float actualDomesticHotWaterTemperature;
		float boilerPressure;

		// WiFi
struct		list<tAccessPoint> AccessPoints;

		bool locationKnown=false;
		char timezone[64]="Europe/Amsterdam";
		int timeZoneOffset=3600;
		int timeDSToffset=0;

		// TELEGRAM
		// Telegram bot settings
string		String botName;
string		String botUserName;
string		String botToken;
string		String botChatID="";

		// Log timing of subprocesses
		LogBusyTime logBusyTime;
		DataLogger_t datalogger;